**6.1.1.5.1**

**Procurement of under RBSK:**

Under this, proposal is submitted for procurement of two items namely, oximeter and infrared thermometer for use by RBSK Mobile Health Teams during child health screening. Considering the magnitude of the on-going COVID-19 pandemic and keeping in mind the need to take any and every precautionary measures, there is felt need to equip all RBSK Mobile Health Teams with at least minimal screening tools.

If approved, procurement will be initiated through competitive bidding and as per Terms & Conditions laid down by state NHM procurement rules. Requirement is reflected on serial no.1 & 2 of the table given below:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Specification** | **Unit** | **Rate (in Rs.)** | **Total Amount (in Lacs)** |
| Oximeter: | * Measures quickly and accurately pulse rate and spo2 blood oxygen saturation of arterial hemoglobin levels. * Digital bright LED display * Water resistant * Compact: light and compact, accommodates wide range of finger sizes, long battery life | **30** | **4000** | **120000** |
| Infrared Thermometer | * Non-Contact Digital Temperature Gun with LCD Display for Infants Babys and Adults * Measuring distance : 1-2inch * High-accuracy infrared measurement * Triggering audible alert once temperature is above average. * Displays clear and crisp numbers in HD LED screen * Memory Feature : Storage up to 32 temperature readings and recall them at any time.. * Auto shutdown feature for power saving. | **30** | **4000** | **120000** |
| **Total** | | | | **240000** |